Fire Risk Assessment

Risk assessment for The Cow Shed		Assessment undertaken by

Company	Grounds Farm			Date	1st September 2023

Address	Grounds Farm			Completed by	Zoe Bell

Grounds Farm Lane							Kenilworth

CV8 1PP

Use:  Single storey self contained self catering units

Step 1 – Identify fire hazards

Sources of ignition

Heat from cooking (electricity)

Faulty or misused electrical equipment

Unauthorised smoking materials / candles

Arson

Sources of Fuel

Oil used in cooking

Furniture and bedding

Cleaning materials

Domestic waste

Sources of Oxygen

Normal air circulating

Step 2 – People at Risk

Guests a sleep in bedrooms, especially any mobility or hearing impaired guests.

Step 3 – Evaluate, remove, reduce and protect from risk

Evaluate the risk of fire occurring

- Moderate risk from cooking – There is no facility for deep fat frying so reduces the risk.

- Moderate risk from carelessly discarded smoking materials by guests.

- Low risk of electrical fire in all areas – All electrical items are inspected for faults at each change over.  Sockets not overloaded.

- No risk of ignition from boiler in The Cowshed as located in a separate building.

- Low risk of arson as building is secured and occupied most of the time.

Evaluate the risk to people from a fire starting in the premises

- Fire in the kitchen from cooking could spread to other areas via wedged doors.

- Fire in bedroom from electrical items could spread by wedging doors open.

- The building is single storey and all windows can be used as a fire escapes.

Remove and reduce the hazards that may cause a fire

- Risk of fire from cooking can be reduce by ensuring that guests keep all doors closed, heat detector in kitchen and fire blanket available.  Cow Shed is electric cooking only so no naked flame.

- All electrical items are kept in good order and checked at each change over.  Electrical circuits and main consumer board is checked by a qualified electrician every 5 years

- No smoking policy throughout the house, smoke detectors fitted in all areas.

- No candles are in the premises, only battery candles are provided.

- Properties are kept tidy and clean.  No towels and linen are stored in the cottages.

- All furniture complies with Furniture and Furnishings regulations

Remove and reduce the risks to people from a fire

- Fire Alarms are changed as required by manufacturer’s guarantee.  These are checked after each change over or weekly if there are short breaks.

- Property is no smoking

- The property is single storey which allows more easily accessible exits for mobility impaired guests.

- Fire blanket checked to ensure they are in working order at every change over.

- All electrical appliances are checked for damage at each change over.

- Rubbish is kept under the sink and away from any ignition source.

- All doors are solid wood.

- All exit routes are kept clear.  Front door has thumb key turn so no key required to exit.

- Rechargeable torch is available which will light the way to the exit in the event of a power failure.

- Fire procedure notice is in cottage detailing what to do in the event of a fire.