Fire Risk Assessment

Risk assessment for The Shepherds Hut	Assessment undertaken by

Company	Grounds Farm			Date	1st September 2023

Address	Grounds Farm			Completed by	Zoe Bell

Grounds Farm Lane									           Kenilworth

CV8 1PP

Use:  Single storey, self contained self catering accommodation.

Step 1 – Identify fire hazards

Sources of ignition

Heat from cooking on the BBQ outside or toaster inside

Faulty or misused electrical equipment

Unauthorised smoking

Use of candles

Arson

Sources of Fuel

Oil used in cooking

Furniture and bedding

Cleaning materials

Domestic waste

candles

Sources of Oxygen

Normal air circulating

Step 2 – People at Risk

Guests a sleep, especially any mobility or hearing impaired guests.

Step 3 – Evaluate, remove, reduce and protect from risk

Evaluate the risk of fire occurring

- Low risk from cooking.  There is only a toaster inside and a BBQ outside.

- Moderate risk from unauthorised carelessly discarded smoking materials by guests.

- Moderate risk from un authorised use of candles.

- Low risk of electrical fire in all areas – All electrical items are inspected for faults at each change over. Sockets are not over loaded

- Low risk of arson as building is secured and occupied most of the time

Evaluate the risk to people from a fire starting in the premises

- Low risk as single storey and easy means of escape.

- Low risk as minimal sources of ignition in the property.

Remove and reduce the hazards that may cause a fire

- Risk of fire from cooking reduced by having a fire extinguisher and fire blanket available.  Cooking is outside apart from toaster.

- All electrical items are kept in good order and checked at each change over

- No smoking policy throughout the hut, smoke detectors fitted.

- The BBQ is outside and has a lid which can be used to extinguish fire if it gets out of control.

- All furniture complies with Furniture and Furnishings regulations

- Rubbish is stored away from any ignition source.

- Candles have been replaced with battery operated versions.

Remove and reduce the risks to people from a fire

- Fire alarm checked at change over or weekly if short breaks

- The property is single storey which allows more easily accessible exits for mobility impaired guests.

- Rechargeable torch is available which will light the way to the exit in the event of a power failure.

- Door has thumb key turn so no key is required to exit.

- Fire extinguisher replaced as per manufacturer’s instructions and if used.

- Fire blanket checked to ensure it is in working order at every change over.